## Slide 1
SMART INDIA HACKATHON 2026
Problem Statement ID - 26231
Problem Statement Title -Digital Companion for Field Drug Testing
Theme - MedTech / BioTech / HealthTech
PS Category - Software
Team ID - K26234
Team Name - HexTech

## Slide 2
PROPOSED SOLUTION
HexTech
  Officers mainly judge the kit’s colour change by looking at it, so lighting and personal judgement can affect the result.
  There is no standard colour value to compare the test result with.
  The test does not always leave a clear digital record of who performed it, where, and when, making it harder to verify later.
2
Problem
  Check the Test - The mobile app captures the colour change and helps check the result.
  Record the Test - Saves the result along with the time, location, and Inspector ID.
  Manage the Records - The admin dashboard manages Inspectors, test records, evidence, and reports.
Solution
Novelty
  Handles Lighting Variations - Uses a low-cost colour card to improve colour detection under different lighting.
  Handles Unclear Results - Blurry, shiny, or unclear images are marked INCONCLUSIVE instead of giving a wrong result.
  Creates Verifiable Evidence - Securely records the photo, GPS, time, and Inspector ID, with QR-based verification.
  Supports Multiple Kits - New kit colour profiles can be added from the Admin website without changing the app.
Our Approach
Prototype Demo Video:
Prototype Video Link
Prototype Flow - real screenshots of our working prototype
User Experience
  4 steps - choose kit, take photo inside the box, see result, it gets saved. One test takes around 16 seconds (we checked in 19 scans).
  Bad photo? - app says NOT SURE, tells the reason (blurry, shiny or card not seen) and asks to take the photo again.
  Easy to read - Result is shown in big coloured letters, so anyone can read it easily. Works in Tamil too.
Result screen shown in Tamil. Test Log (right) can search and filter by date, officer, kit and result, and download CSV or PDF with QR.
India: 1,20,010 NDPS cases in 2023 (source: NCRB, Crime in India 2023)
Eye check is guesswork, lab is slow, FieldProof gives result on the spot for ₹10 with proof

## Slide 3
TECHNICAL APPROACH
3
HexTech
Technology Stack
System Architecture
  Testing: 37 computer made photos and 25 real phone scans.
  Accuracy: all 25 computer made photos correct. Real scans had 0 wrong answers (14 correct, others said NOT SURE).
  Colour Check: Used ΔE ≤ 14, 4-point colour matching, card-fit and glare thresholds.
  Speed: Result secured in 2.5 s typically, 5 s maximum.
  Tamper Test: All 4/4 modified records were detected successfully.
Kit colours are simulated swatches (test photos + card on a screen), real kits need an FSL calibration trial.
Right now it is a lab prototype (TRL 4) tested on 1 phone. Next we test real kits with FSL on more phones.
Our Goals - Measured Results
Proof from Real Phone Scans (29 Sep 2026)

## Slide 4
Real-world problem | What our app does
Bad light (street lamp / torch) | Colour card fixes the colours
Shiny or blurry photo, card missing | Says NOT SURE and asks to retake
Colour is in between two results | Says NOT SURE; senior officer checks
Fake photo or edited record | In-app camera only + photo fingerprint
Different kits and phones | Kit settings + colours fixed every photo
FEASIBILITY AND VIABILITY
Potential Challenges & Strategies
4
HexTech
Phased Implementation & Scalability
Feasibility & Sustainability
  Technical - Core app tested with OpenCV-based colour analysis.
  User-Friendly - Capture one photo and get a result within seconds.
  Low Cost - Uses an existing Android phone, a reusable ~₹10 colour card, and open-source tools.
  Operational - Simple photo-based workflow with minimal training required.
  Scalable - Add new test-kit colour profiles through the Admin website without updating the app.
  Sustainable - Government-cloud hosting, regular profile updates, and secure data storage support long-term use.
Cost & Deployment Plan
COST
HOSTING
MAINTENANCE
DEPLOYMENT
SCALE
Uses an existing phone, ₹10 reusable colour card, and open-source software.
Runs on government cloud for the app, database, and admin dashboard.
Regular security updates and easy kit-profile updates as needed.
Start with a pilot, test in the field, then expand deployment.
New test kits can be added through the website without updating the app.
Pilot Plan (proposed)
  Where - 1 district in Tamil Nadu, with local police and the nearest FSL
  Who - 20 officers, for 3 months
  Check - every field result is checked again in the FSL lab
  Success - 95% or more same as lab, NOT SURE below 10%, every record passes the check
  Cost - around ₹10,000 for 3 months, for cards and server (rough estimate)
After the pilot, the cost can come from the state police or NCB IT budget.
No licence fee as it is open source, so running cost stays low.

## Slide 5
IMPACT AND BENEFITS
5
  Offline Mode (month 1) - save the test on phone, send it when network is back.
  Phone Security (month 2) - sign each test with the phone's security chip.
  Police System Integration (after pilot) - apply to NIC or MHA to link with e-Sakshya and CCTNS. Our CSV export is ready.
  Lab Comparison (during pilot) - compare field results with FSL lab results.
  Regional Languages - Tamil is done in the app. Hindi and voice help in month 3.
HexTech
  Faster, more consistent testing
  Less manual colour checking
  INCONCLUSIVE when unclear
  Easy digital test records
  Quick access to past test records
  Proof of every test: time, place, officer & photo
  Secure and verifiable records
  Less paperwork with PDF & QR
  Easy search, reports and monitoring
  Better field-test documentation
Inspector Benefits
Organisation Benefits
Future Scope (our plan after SIH)
Map -
QR-Based Record Verification
Geo-Tagged test result
Tamper Test -
we tried it on our saved records

## Slide 6
What they found | How we use it | Research
IEEE EMBC 2016 Phone camera colours change with light and phone model; reference colours can help handle this. | Our ₹10 colour card fixes colours in every test | [1] H. Karisen and T. Dong, "Illumination and device independence for colorimetric detection of urinary biomarkers with smartphone," in Proc. 38th Annu. Int. Conf. IEEE Eng. Med. Biol. Soc. (EMBC), Orlando, FL, USA, 2016, pp. 5184-5187, doi: 10.1109/EMBC.2016.7591895.
IEEE TPS-ISA 2024 Digital evidence must maintain integrity and show how it was handled. | Photo fingerprint + signature + chained log | [2] S. Nath, K. Summers, J. Baek, and G.-J. Ahn, "Digital evidence chain of custody: Navigating new realities of digital forensics," in Proc. IEEE 6th Int. Conf. Trust, Privacy Secur. Intell. Syst. Appl. (TPS-ISA), Washington, DC, USA, 2024, pp. 11-20, doi: 10.1109/TPS-ISA62245.2024.00012.
Forensic Science International 2014 A mobile phone camera can measure drug-test colours using RGB values. | Our app reads the test colour as a number | [3] A. Choodum, K. Parabun, N. Klawach, N. Nic Daeid, P. Kanatharana, and W. Wongniramaikul, "Real time quantitative colourimetric test for methamphetamine detection using digital and mobile phone technology," Forensic Sci. Int., vol. 235, pp. 8-13, Feb. 2014, doi: 10.1016/j.forsciint.2013.11.018.
Analytical Chemistry 2016 By-eye colour interpretation is subjective; smartphone image analysis can provide objective analysis. | App gives POSITIVE / NEGATIVE / NOT SURE | [4] S. T. Krauss et al., "Objective method for presumptive field-testing of illicit drug possession using centrifugal microdevices and smartphone analysis," Anal. Chem., vol. 88, no. 17, pp. 8689-8697, Sep. 2016, doi: 10.1021/acs.analchem.6b01982.
Digital Discovery 2023 Computer vision can quantify and compare colour changes that may look similar by eye. | App shows photo colour next to kit colours | [5] N. Bugeja et al., "Teaching old presumptive tests new digital tricks with computer vision for forensic applications," Digital Discovery, vol. 2, no. 4, pp. 1143-1151, 2023, doi: 10.1039/D3DD00066D.
RESEARCH AND REFERENCES
6
HexTech