## Slide 1
SMART INDIA HACKATHON 2026
Problem Statement ID - 26231
Problem Statement Title -Digital Companion for Field Drug Testing
Theme - MedTech / BioTech / HealthTech
PS Category - Software
Team ID - K26234
Team Name - HexTech

## Slide 2
PROPOSED SOLUTION
HexTech
  Officers mainly judge the kit’s colour change by looking at it, so lighting and personal judgement can affect the result.
  There is no standard colour value to compare the test result with.
  The test does not always leave a clear digital record of who performed it, where, and when, making it harder to verify later.
2
Problem
  Check the Test - The mobile app captures the colour change and helps check the result.
  Record the Test - Saves the result along with the time, location, and Inspector ID.
  Manage the Records - The admin dashboard manages Inspectors, test records, evidence, and reports.
Solution
Novelty
  Handles Lighting Variations - Uses a low-cost colour card to improve colour detection under different lighting.
  Handles Unclear Results - Blurry, shiny, or unclear images are marked INCONCLUSIVE instead of giving a wrong result.
  Creates Verifiable Evidence - Securely records the photo, GPS, time, and Inspector ID, with QR-based verification.
  Supports Multiple Kits - New kit colour profiles can be added from the Admin website without changing the app.
Our Approach
Prototype Demo Video:
Prototype Video Link
Prototype Flow - real screenshots of our working prototype
User Experience
  4 steps - pick kit → photo inside the box → result → sealed. Result ~2.5 s after the photo.
  Bad photo? - App says NOT SURE with the reason (blur, glare, card not read) and asks to retake.
  Easy to read - big result word + colour (not colour alone), simple English. Next: timed test with 10 officers.

## Slide 3
TECHNICAL APPROACH
3
HexTech
Technology Stack
System Architecture
  Testing: 37 kit photos across 5 lighting conditions, 6 real phone photos.
  Accuracy: 25/25 controlled tests correct; 5/6 real photos correct, with 1 marked “NOT SURE”.
  Colour Check: Used ΔE ≤ 14, 4-point colour matching, card-fit and glare thresholds.
  Speed: Result secured in 2.5 s typically, 5 s maximum.
  Tamper Test: All 4/4 modified records were detected successfully.
Kit colours are simulated swatches (test photos + card on a screen), real kits need an FSL calibration trial.
Next: real-kit trial with Regional FSL Coimbatore, in lab + field light.
Our Goals - Measured Results
Reference Card
Proof of Results

## Slide 4
Real-world problem | What our app does
Bad light (street lamp / torch) | Colour card fixes the colours
Shiny or blurry photo, card missing | Says NOT SURE and asks to retake
Colour is in between two results | Says NOT SURE; senior officer checks
Fake photo or edited record | In-app camera only + photo fingerprint
Different kits and phones | Kit settings + colours fixed every photo
FEASIBILITY AND VIABILITY
Potential Challenges & Strategies
4
HexTech
Phased Implementation & Scalability
Feasibility & Sustainability
  Technical - Core app tested with OpenCV-based colour analysis.
  User-Friendly - Capture one photo and get a result within seconds.
  Low Cost - Uses an existing Android phone, a reusable ~₹10 colour card, and open-source tools.
  Operational - Simple photo-based workflow with minimal training required.
  Scalable - Add new test-kit colour profiles through the Admin website without updating the app.
  Sustainable - Government-cloud hosting, regular profile updates, and secure data storage support long-term use.
Cost & Deployment Plan
COST
HOSTING
MAINTENANCE
DEPLOYMENT
SCALE
Uses an existing phone, ₹10 reusable colour card, and open-source software.
Runs on government cloud for the app, database, and admin dashboard.
Regular security updates and easy kit-profile updates as needed.
Start with a pilot, test in the field, then expand deployment.
New test kits can be added through the website without updating the app.
Pilot Plan (proposed)
  Where - 1 district in Tamil Nadu: police + Regional FSL Coimbatore
  Who - 20 field officers for 3 months
  Check - every field result re-tested in the FSL lab
  Success - 95%+ match with lab, NOT SURE under 10%, every record verifies
  Then - district → state → national (phases on the left)

## Slide 5
IMPACT AND BENEFITS
5
  Offline Mode - Test even without internet and sync data later.
  Phone Security - Use the phone’s security chip to sign each test.
  Police System Integration - Connect with e-Sakshya and CCTNS.
  Lab Comparison - Compare field results with lab results to improve accuracy.
  Regional Languages - Support Hindi and regional languages with voice assistance.
HexTech
  Faster, more consistent testing
  Less manual colour checking
  INCONCLUSIVE when unclear
  Easy digital test records
  Quick access to past test records
  Proof of every test: time, place, officer & photo
  Secure and verifiable records
  Less paperwork with PDF & QR
  Easy search, reports and monitoring
  Better field-test documentation
Inspector Benefits
Organisation Benefits
Future Scope
Map -
QR-Based Record Verification
Geo-Tagged test result
Tamper Test -
real run on our saved records

## Slide 6
What they found | How we use it | Research
IEEE EMBC 2016 Phone camera colours change with light and phone model; reference colours can help handle this. | Our ₹10 colour card fixes colours in every test | IEEE EMBC 2016 – Illumination and device independence for colorimetric detection of urinary biomarkers with smartphone
IEEE TPS-ISA 2024 Digital evidence must maintain integrity and show how it was handled. | Photo fingerprint + signature + chained log | IEEE TPS-ISA 2024 – Digital Evidence Chain of Custody: Navigating New Realities of Digital Forensics
Forensic Science International 2014 A mobile phone camera can measure drug-test colours using RGB values. | Our app reads the test colour as a number | Forensic Science International 2014 – Real-time quantitative colorimetric test for methamphetamine detection using digital and mobile phone technology
Analytical Chemistry 2016 By-eye colour interpretation is subjective; smartphone image analysis can provide objective analysis. | App gives POSITIVE / NEGATIVE / NOT SURE | Analytical Chemistry 2016 – Objective Method for Presumptive Field-Testing of Illicit Drug Possession Using Centrifugal Microdevices and Smartphone Analysis
Digital Discovery 2023 Computer vision can quantify and compare colour changes that may look similar by eye. | App shows photo colour next to kit colours | Digital Discovery 2023 – Teaching old presumptive tests new digital tricks with computer vision
RESEARCH AND REFERENCES
6
HexTech